DETERMINING THE PERCENT  COMPOSITION OF A MIXTURE OF

VOLATILE LIQUIDS USING A GAS CHROMATOGRAPH.

(Revised: 1-12-93)

INTRODUCTION

Gas chromatography is a technique used to analyze mixtures.  The instrument allows mixtures to be separated and the amount of each component to be determined.  One advantage of this technique is that very small (a few microliters) samples can be analyzed.

Samples to be analyzed in a gas chromatograph must be volatile, that is, they must vaporize easily.  Once vaporized, the sample is carried through a long tube containing a porous material.  A nonreactive gas such as helium is used to carry the components of the mixture through the tube which is usually referred to as the column. Not all components of a mixture travel through the tube at the same rate.  Thus, some components will arrive at the detector at the end of the tube before others. The detector in this GC is called a thermal conductivity detector.  As the components pass over the detector, the detector sends a signal to a recorder and a plot (chromatogram) is produced.

Using the chromatogram, the percent composition of each component in the mixture can be determined.  The percent composition is directly related to the area of each peak in the chromatogram.  The area of each peak can be found by using one of the following methods:

*  The peak can be treated as a triangle and the formula,  Area =  height x width at 		1/2 height x attenuation can be applied.

*  Each peak can be cut out and weighed.

There is one factor in determining the areas which must be considered when using a thermal conductivity detector.  The thermal conductivity of different substances tends to vary slightly.  This means that the response of the thermal conductivity detector will also vary slightly.  Therefore a correction factor will be used for each component of the mixture to account for this conductivity difference.

After finding the corrected areas, the percent composition for each peak is calculated  by:

1.  Adding together the peak areas,

2.  Dividing each area by the total area and multiplying by 100.

PURPOSE

To separate a mixture, using the gas chromatograph, and then to determine from its chromatogram the mass percent of each component in that mixture.

SAFETY

Goggles/aprons

Caution: Injection port is hot.

Syringes are very delicate and sharp.  They must be handled with extreme care.

The various controls on the instrument have been preset for you.  DO NOT MAKE ADJUSTMENTS.

PRE-LAB QUESTIONS

1a.	Look up the chemical formulas, molecular weights, and boiling points for each of the 		following 4 compounds.  Some or all of these may be in the sample you will be 		investigating.

| Compounds | Chem. Formula | Mol. Wt. (g/mol) | B.P. ((C ) | F.P. ((C) |
| --- | --- | --- | --- | --- |
| A. 1-butyl alcohol |  |  |  |  |
| B. t-butyl alcohol |  |  |  |  |
| C. 1-propyl alcohol |  |  |  |  |
| D. isopropyl alcohol |  |  |  |  |

b. Predict the order of separation based on both molecular weights and boiling points.

c. The mixture you will be analyzing will be carried through the column by the mobile phase. Identify the mobile phase.

2a. Read the Scientific American article, "Gas Chromatography," by Roy A. Keller.  (Keller, Roy A. (1961).  Gas Chromatography. Scientific American, 4, 58-67.)  Summarize the history of the gas chromatograph in the minimum of four well-developed paragraphs.

MATERIALS

Gas Chromatograph

10 uL Hamilton syringe

Samples A,B,C,D, which contain mixtures of varying percents of all or some of the following volatile compounds:

1-butyl alcohol

t-butyl alcohol

1-propyl alcohol

isopropyl alcohol

PROCEDURE

1. You will work in teams of two.

2. Each team will quietly work on parts 1 and 2 of the PRE-LAB.

3. Your teacher will notify your team when it is time to use the gas chromatograph.

4. You will be assigned an unknown mixture.  Record the letter of this mixture in the appropriate

space on the data table.

CLEANING THE SYRINGE

5. Clean syringe by inserting the needle into sample and draw up 5 - 10 ul.  Depress the plunger of the syringe to discard the sample onto paper towel as described by your instructor.

6. Repeat step 5.

PREPARATION FOR INJECTING SAMPLE

7. Draw 10 ul of the sample into the syringe.

8. Into the waste container, depress the plunger to exactly 1 ul. (No more than 1 ul should be

injected into the G.C.)

9. Carefully pull back the plunger to add 5 ul of air to the contents of the syringe.

INJECTION OF SAMPLE

10. Prior to injection, check the baseline on the recorder for proper adjustment. If it is not

properly aligned, obtain help from your instructor.

11. Carefully insert needle into the injection port.  REMEMBER, THE INJECTION PORT IS

VERY HOT.  Quickly depress the plunger and remove the syringe.

12. Look at the chromatogram as it is being printed.  Your chromatogram should begin with an

air peak and end with a flat, continuous baseline.  On your chromatogram take down the

following information:

Attenuator setting

Column temperature

Sample size

Identity of sample

13. When chromatogram is completed, remove it from the chart recorder.

14. Return to your work area.

15. Disregarding the air peak, label each successive peak at its top, beginning with #1, #2,...

Record each peak number in the appropriate space on the data table.

16. Using a metric ruler, draw the baseline of the chromatogram.

17. Measure the peak height and the peak width at 1/2 height to the nearest tenth of a centimeter

for each peak.  Record these measurements in the appropriate space on the Data/Calculation

Table #1.

DATA / CALCULATIONS TABLE  #1		Identity of Unknown _____

| Peak # | Peak Identification | Peak Height (cm) | Width at 1/2 Peak Height (cm) | Attenuation | Area (cm2) |
| --- | --- | --- | --- | --- | --- |

CALCULATION TABLE  #2

| Peak # | Peak Identification (from above) | Area (cm2) (from above) | Correction Factor | Corrected Area (cm2) |
| --- | --- | --- | --- | --- |

CALCULATIONS	SHOW ALL WORK!

1. Calculate the area of each peak in cm2.  Do this by multiplying the peak height times the width

at 1/2 peak height times the attenuation.  Record your answers in the appropriate space on the

Data/Calculation Table #1.

2. Correct each peak area using the correction factor for each substance given in Reference Table

#1.  Multiply each peak area by the correction factor for that substance.  This is the corrected

peak area, and it should be recorded on Calculation Table #2.

REFERENCE TABLE  #1

| Substance | Correction Factor |
| --- | --- |
| 1-butyl alcohol | 1.000 |
| t-butyl alcohol | 1.000 |
| 1-propyl alcohol | 0.920 |
| isopropyl alcohol | 0.903 |

3. Calculate the total area in cm2 of all peaks by adding the corrected areas.  		                 Record the total area in the space provided in the Calculation Table #3.

CALCULATION TABLE #3

| Peak # | Peak Identification | Total Peak Area (same value for all) | Percent Composition |
| --- | --- | --- | --- |

4. Calculate the mass percent for each component of your mixture.  For each 		                 component, divide the corrected peak area by the total area and multiply by 		                 100.  Record these values in Calculations Table #3.

CONCLUSIONS

1. Which physical property, B.P. or molecular weight, accounted for the distribution of peaks on

the chromatograph? Explain.

2. On the baseline of each peak of the chromatogram, write the name of the most likely

compound indicated by that peak, and the percent composition calculated for that compound.

3. How could you verify your answers to conclusion 2 (above) using the gas chromatograph?

0

FOLLOW-UP QUESTIONS

1. A mixture of ethyl alcohol (molecular weight 46.07 g/mol, B.P. 75(C), 4-chloro-butanone

(molecular weight 90.55 g/mol, B.P. 75(C) and diisopropyl N-nitrosoamine (molecular weight

130.19 g/mol, B.P. 76-81(C) was injected into a G.C.  Predict the order in which the

substances would appear on the chromatogram.

2. Examine your chromatogram.

Three inferences which can be made from the chromatogram are:

1.

2.

3.

LAB WRITTEN BY:

DOLORES HANDY, DEBBIE LYNCH, SUZANNE STARKEY AND KATHY WHITFIELD

TEACHERS' GUIDE

DETERMINING THE PERCENT COMPOSITION OF A MIXTURE OF

VOLATILE LIQUIDS USING A GAS CHROMATOGRAPH

CLASSROOM USAGEChemistry I

CURRICULUM INTEGRATION

Solutions

Percent composition

Physical properties

Molecular weight

Bonding/ Polarities

PREVIOUS KNOWLEDGE

Metric measurement

% calculation

Significant digits

Definition of solution

Molecular weight

Boiling point

Operations of a gas chromatograph and underlying principles.

PREPARATION

The teacher should use a sample chromatogram to instruct students on mathematical calculations

for area determinations of peaks and % composition of a mixture.  It is suggested that students be

given a practice problem for guided instruction the day prior to the lab.  Use a chromatogram

which you have obtained previously.

`

A major consideration in determining retention time in chromatography is polarities.  In this experiment, the polaritites of all the substances are very similar.  Due to this, the students are led to looking at molecular  weights and boiling points as other considerations.

In this case of gas chromatography, the column (stationary phase) is carbowax.  Carbowax is a slightly polar solid.  The mobile phase is helium.

TIME

Each sample takes approximately 10 minutes to run through the G.C.

SUGGESTION:

Have students work in rotations. Some groups will be using the CRC, others will be using the G.C., while others work on the history of the G.C.

SAFETY AND DISPOSAL

Students should be warned of the hazards of the syringe needle and the hot injection port.

Solutions should be disposed of according to Flinn disposal 27J ( evaporation in a fume hood.

PRE-LAB ANSWERS

1a.Data Table:

|  | Chem. Formula | Mol. Wt. (g/mol) | B.P. ((C) | F.P. ((C) |
| --- | --- | --- | --- | --- |
| 1-butyl alcohol | CH3(CH2)3OH | 74.12 | 117.7 | -90 |
| t-butyl alcohol | (CH3)3COH | 74.12 | 83 | 25 |
| 1-propyl alcohol | CH3(CH2)2OH | 60.10 | 97 | -127 |
| isopropyl alcohol | CH3(CH2)2OH | 60.10 | 82.4 | -89.5 |

b.  isopropyl alcohol, t-butyl alcohol, 1-propyl alcohol, and 1-butyl alcohol

c.  helium

2a. If computers are available, students can word-process their reports.

ANALYSIS

There are two ways to determine the identity of each peak.  One way is to run a 	chromatogram of each alcohol standard and use retention time.  The other way is to 	spike the mixture with each standard and observe which peak increases in area.

CONCLUSIONS

1. Boiling point.  Because molecular weights are all approximately the same, the separations must have been due to the differences in boiling points.

2. Refer to student's chromatogram.

3.By running a pure sample of each component.

FOLLOW-UP QUESTIONS

1. Ethyl alcohol, 4-chloro-butanone, diisopropyl n- nitrosoamine.

2. 3 substances in the mixture

2. each component may have different boiling points

3. each component may have different molecular masses.

4. other possible answers may apply.

ASSESSMENT

A.	Checklist:

1. Use print-out, chromatograph to access the proper injection of a sample

B.	Activities:

1. Have a chromatograph set up containing an air peak followed by 2 peaks.  Have areas of each

peak already calculated - they are to calculate the mass percent composition for 1 of the peaks.

C. Final-portfolio (

1. Report on the history of the GC