ANALYSIS OF MOUTHWASH

Background Information:

Commercial mouthwashes are mixtures of water, alcohol, dyes, flavorings, and other compounds.  In this experiment, you will use gas chromatography to determine the alcohol content of the mouthwash.  Since the volumes of alcohol and water are not additive when mixed, a calibration curve must be used.  It will provide the correction factor needed for alcohol-water mixtures.  The calibration curve will be prepared by placing a known amount of alcohol in an alcohol-water mixture.  The observed percentage of alcohol will be plotted against the true percentage of alcohol.

Equipment/Materials:

95% ethanol

distilled water

gas chromatograph (w/10 μL syringe)

mouthwash samples

Procedure:

- Warm-up and set-up the GC as directed.  Use a chart speed of 2 cm/min.  Set the attenuation to 4 or 8.  Inject 0.5 μL of 95% ethanol to determine the best attenuation to use.  All of the other alcohol peaks will be smaller than this one, so the 95% peak should be as high as possible.

- Prepare standard solutions of ethanol according to the following amounts.

| % volume alcohol | 95% alcohol (mL/100 mL) |
| --- | --- |
| 5% | 5.26 |
| 10% | 10.53 |
| 20% | 21.05 |
| 30% | 31.58 |

- Obtain 1.0 μL of a standard solution and add about 5 μL of air.  Inject the sample into the GC.  Label the standard injected and attenuation.  Follow the same procedure for each standard solution.

- Obtain 1.0 μL of a mouthwash sample and about 5 μL of air.  Label the mouthwash injected and attenuation.  Follow the same procedure for each mouthwash sample. Rinse the syringe with toluene between injections.

Data Analysis:

- Determine the retention time of the 95% alcohol.

- Use the retention time to identify the alcohol peaks of the standard solutions and mouthwash samples.

- Determine the area under each alcohol peak by measuring the height of the peak and the width at ½ the height.  Use the following equation to calculate the area.

Area = ½ (width)(height)(attenuation)

- Prepare a calibration curve of the standard solutions:  % area alcohol (y-axis) vs. % alcohol (x-axis).  Draw a best-fit line.

- Use the calibration curve to determine the % alcohol in the mouthwash samples.

- For the accepted value of % alcohol, record the % alcohol from the inactive ingredient list on the mouthwash.

- Calculate your % error.

Data Table:

| % volume alcohol | Height (cm) | Width (cm) | Alcohol Area (cm2) |
| --- | --- | --- | --- |
| 5% |  |  |  |
| 10% |  |  |  |
| 20% |  |  |  |
| 30% |  |  |  |

| Brand | Height (cm) | Width (cm) | Alcohol Area (cm2) | % Alcohol | Accepted Value |
| --- | --- | --- | --- | --- | --- |

Teacher Notes:

- Curriculum Connections:

  - Chemistry:  Mixtures/Solutions, Percent Composition, Organic

  - Biology: Bacteria (effectiveness of killing mouth bacteria vs. % alcohol)

- To reduce the time of this lab, the alcohol standards could be prepared ahead of time.  The lab could also be done without using the standards and just determining the % alcohol in the mouthwash by the area under the peaks.

- Commercial brands of mouthwash vary in their alcohol contents (less than 10% to over 30%).  Select brands to show this range.

- The wide peak after the alcohol peak is water.  You can inject a sample of water to show the students this or have them try to figure out which ingredient it is based on the labels.