The Augmented Reality Sandbox

Do not unplug the power strip until the computer and projector have completely powered off

Set up:

- Plug the power strip in

- Turn on the projector

- Turn on the computer

- The visualization program should come up automatically and you should be ready to go.

Shut down:

- Shut off the projector by pressing the power button on the projector two times

- Shut off the computer by pressing the power button on the computer

- Wait for the both to fully shut down. The projector will have a loud beep when it is finished cooling down and shutting off.

- Turn the power strip off

- Unplug the power strip.

Trouble shooting:

- The topo lines are not there and the image is not clear.

  - Take the cap off of the projector.

- I’m getting a blue (or black) screen projected.

  - Restart the computer using the power button on the computer.

- The topo lines are not in the correct placement.

  - Carefully and gently adjust the Kinect sensor.

Accessories supplied:

- Spray bottle

- Cloud

- Dustpan and brush