KINETIC STUDY OF THE REACTION OF KI WITH FeCl3

(Revised: 5-20-96)

INTRODUCTION

Concentration of reactants is one factor which influences the rate of a chemical reaction.  The following reaction will be investigated:

2 I-(aq) + 2 Fe3+(aq) (((((((((> I2(aq) + 2 Fe2+(aq)

The concentration of I- and Fe3+ will be systematically varied, and the effect of these changes in solution absorbancies will be determined using a visible spectrophotometer.  The rate expression for the reaction will then be calculated:

Rate = k[I-]x [Fe3+]y,  x,y = order with respect to reactants

PURPOSE

1.	To become familiar with the use of the visible spectrophotometer.

2.	To determine the order of the reaction with respect to each reactant.

3.	To write an overall rate expression for the reaction.

SAFETY CONSIDERATIONS  Goggles must be worn in the lab.

PRE-LAB	Consider the hypothetical reaction:

A + B  (((((((((>  product(s)

The rate expression is:  Rate = k[A]x[B]y

Determine the values for x and y, from the following data:

[A]			[B]			 Rate

0.10			0.10			2.0

0.10			0.20			4.0

0.20			0.10			8.0

MATERIALS		3-5 mL pipets (graduated to 0.1 mL)

small test tubes

visible spectrophotometer

cuvettes

0.020 M  KI

0.020 M  FeCl3

distilled water

safety goggles

PROCEDURE

1.	Warm up thespectrophotometer.  Set wavelength at 450 nm.  Prepare a blank by mixing 2 mL of distilled water + 2 mL KI solution in a cuvette.  Set % transmittance = 0 with cuvette holder empty and set % transmittance =  100 with the blank solution.

2.	Using the quantities listed in the Data Table, place the required amount of KI solution and distilled water in another cuvette, place the required amount of FeCl3 solution in a small test tube.

3.	Pour  the  FeCl3 solution into the (KI + H2O) solution and begin timing (t=0 sec.).   Cover the cuvette and quickly invert 3-4 times to mix the solutions.

4.	Insert cuvette into the Spec 20/20D and record the % transmittance 15 sec. after the initial mixing.

5.	Continue to record the % transmittance every 15 sec for 2 min (see Data Table).

6.	Repeat 3 times for each set of concentrations assigned.

7.	Rinse all pipets, cuvettes, and test tubes with distilled water and drain to dry.

DATA TABLE

|  | time (sec) |
| --- | --- |
| Mixture | Trial | 15 | 30 | 45 | 60 | 75 | 90 | 105 | 120 |
| 1: 2 mL KI | 1 |  |  |  |  |  |  |  |  |
| 1 mL H2O | 2 |  |  |  |  |  |  |  |  |
| 1 mL FeCl3 | 3 |  |  |  |  |  |  |  |  |
| average absorbance |  |  |  |  |  |  |  |  |  |
| 2: 2 mL KI | 1 |  |  |  |  |  |  |  |  |
| 1 ½ mL H2O | 2 |  |  |  |  |  |  |  |  |
| ½ mL FeCl3 | 3 |  |  |  |  |  |  |  |  |
| average absorbance |  |  |  |  |  |  |  |  |  |
| 3: 1 mL KI | 1 |  |  |  |  |  |  |  |  |
| 1 mL H2O | 2 |  |  |  |  |  |  |  |  |
| 2 mL FeCl3 | 3 |  |  |  |  |  |  |  |  |
| average absorbance |  |  |  |  |  |  |  |  |  |
| 4: 1 mL KI | 1 |  |  |  |  |  |  |  |  |
| 2 mL H2O | 2 |  |  |  |  |  |  |  |  |
| 1 mL FeCl3 | 3 |  |  |  |  |  |  |  |  |
| average absorbance |  |  |  |  |  |  |  |  |  |
| 5: 2 mL KI | 1 |  |  |  |  |  |  |  |  |
| 0 mL H2O | 2 |  |  |  |  |  |  |  |  |
| 2 mL FeCl3 | 3 |  |  |  |  |  |  |  |  |
| average absorbance |  |  |  |  |  |  |  |  |  |

CALCULATIONS

1.	For each trial, plot average absorbance in the y-axis and time on the x-axis.  Determine the best straight line and calculate the slope of the line.

2.	From the slope and concentration data for all 5 solutions, determine the x and y values (orders) and write the rate expression for the reaction.

CONCLUSIONS/ FOLLOW-UP QUESTIONS

1.  (a)	Why is it not possible to calculate the specific rate constant, K, from this set of data?

(b)	What data would be needed to calculate K, and what type of experiments could one use to obtain this data?

LAB WRITTEN BY: MIKE GRUBBER

TEACHERS' GUIDE

KINETIC STUDY OF THE REACTION OF KI WITH FeCl3

TYPICAL CLASSROOM USAGE

This experiment would be appropriate for second-year chemistry students (AP).

CURRICULUM INTEGRATION

This experiment fits into the Rates of Reaction topic area.  Students should have a basic understanding of collision theory -- why and how particles react with one another.  It would be very helpful if a quantitative rate activity were performed first, either as a demonstration or a lab exercise.  One could quickly show the effects of temperature, for example, and not attempt this in a quantitative manner at this experimental level.

PREPARATION

1.	Thespectrophotometer should be warmed up for at least 15 min. prior to use.

2.	It requires a maximum of 6 mL of solution for a set of 3 trials.  250 mL of each solution should be sufficient for 50 students working in pairs.

TIME

GETTING READY	45-60 min to prepare the two solutions and gather equipment.

DOING THE ACTIVITY   10-15 min for the students to acquire the data for 3 trials of the same 				concentration.

SAFETY AND DISPOSAL

No special safety hazards.

Disposal: 	KI solution    --  Flinn Method #26b

FeCl3 solution --  Flinn Method #26b

SAMPLE RESULTS AND CALCULATIONS

1.	The slope of the (Absorbance vs. time) curve in proportional to the rate of reaction.

2.	The slope of the curve can be determined by:

a.	Individually plotting the points on graph paper.

b.	Using Vernier Graphical Analysis III software.

c.	Using a calculator-installed least-square program.

3.	Sample results (From least-square program)

Solution No.		  slope

1		0.00548

2		0.00252

3		0.00478

4		0.00270

5		0.00934

4.	Determination of order (x & y)

a.	Compare slopes of solutions 1 & 2 and 3 & 4:

doubling [Fe3+] (((((((((> approximately doubles slope

(((((((((>      "          "     rate

Answer:  y = 1

b.	Compare slopes of solutions 1 & 3:

doubling [I-] (((((((((> approximately doubles slope

(((((((((>        "        "     rate

Answer: x = 1

c.	double-check by comparing solutions 4 & 5:

doubling both [I-] and [Fe3+] (((((((((> rate

approximately quadruples!!

5.	Rate expression

Rate = k[I-]x[Fe3+]y

= k[I-][Fe3+]

6.	The specific rate constant, k, cannot be calculated since the rate of reaction cannot be determined.

but we measure

and Absorbance  (  concentration,

Absorbance  (   concentration

REFERENCES

Central Pennsylvania Association of Chemistry Teachers in Cooperation with NSF, Juniaita 	College, and Private Industry. (1990). Student Laboratory Instrumentation Manual

for Excellence.